## Chart1
Sensitivity Analysis for Middle Dyes Inlet Station
=

## Zoom
Sensitivity Analysis for Middle Dyes Inlet Station

## data
Outfall | #3: OF 11 |  | Sensitivity Analysis for Middle Dyes Inlet Station
Storm | Nov 98
Length of Overflow | 24 hr
Water Column | Surface
Runid | ftn53
Units | cfu/100 ml
hr | #3 Base | #9 Wind | #10 Turbidity | #11 Sunlight | #12 Freshwater | #13 No Die Off
24 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 | 0
32 | 0 | 0 | 0 | 0 | 0 | 0
33 | 0 | 0 | 0 | 0 | 0 | 0
34 | 0.8 | 0.8 | 0.9 | 0.9 | 0.8 | 1.1
35 | 1 | 1.1 | 1.1 | 1.1 | 0.9 | 1.5
36 | 0.9 | 1 | 1 | 1 | 0.6 | 1.4
37 | 0.7 | 0.7 | 0.9 | 0.8 | 0.3 | 1.2
38 | 0.5 | 0.4 | 0.6 | 0.5 | 0.2 | 0.8
39 | 0.3 | 0.3 | 0.3 | 0.3 | 0.2 | 0.5
40 | 0.2 | 0.1 | 0.2 | 0.2 | 0.1 | 0.4
41 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
42 | 0 | 0 | 0 | 0 | 0.1 | 0.1
43 | 0.1 | 0.1 | 0.1 | 0.1 | 0 | 0.3
44 | 6 | 7.5 | 6 | 6 | 7.7 | 6.9
45 | 7 | 7.9 | 7 | 7 | 8.1 | 8.4
46 | 6 | 6.1 | 6 | 6 | 6.7 | 7.4
47 | 4.4 | 4.4 | 4.4 | 4.4 | 4.4 | 5.6
48 | 4.3 | 4.5 | 4.3 | 4.3 | 3.3 | 5.8
49 | 4.9 | 5.1 | 5 | 5 | 3.4 | 7
50 | 4.4 | 4.5 | 4.5 | 4.5 | 3.2 | 6.7
51 | 4.1 | 4.2 | 4.2 | 4.2 | 2.9 | 6.6
52 | 3.6 | 3.6 | 3.9 | 3.9 | 1.8 | 6.5
53 | 3.2 | 3 | 3.5 | 3.5 | 1.2 | 6.3
54 | 2.6 | 2.3 | 3 | 3 | 1 | 6
55 | 2.2 | 2.3 | 2.4 | 2.4 | 1 | 4.8
56 | 1.8 | 1.7 | 2.2 | 2.1 | 1.1 | 4.7
57 | 2.2 | 1.8 | 2.5 | 2.4 | 2.3 | 4.3
58 | 4.5 | 4.9 | 5.1 | 5 | 5.5 | 7.6
59 | 3.1 | 3.5 | 3.7 | 3.6 | 3.9 | 6.2
60 | 2.7 | 3.1 | 3.3 | 3.2 | 3.3 | 5.9
61 | 2.9 | 3.3 | 3.5 | 3.4 | 3 | 6.5
62 | 2.7 | 3.1 | 3.3 | 3.2 | 2.6 | 6.5
63 | 2.5 | 2.9 | 3 | 2.9 | 2.7 | 6.2
64 | 2.3 | 2.7 | 2.7 | 2.7 | 2.2 | 6
65 | 2.1 | 2.4 | 2.6 | 2.5 | 1.6 | 6
66 | 2 | 2.2 | 2.4 | 2.4 | 1.4 | 5.8
67 | 1.9 | 2 | 2.3 | 2.2 | 1.6 | 5.7
68 | 1.1 | 1.2 | 1.3 | 1.3 | 1 | 3.7
69 | 1.3 | 1.4 | 1.5 | 1.5 | 1.3 | 4.4
70 | 1.4 | 1.4 | 1.7 | 1.6 | 1.6 | 4.9
71 | 1.4 | 1.3 | 1.6 | 1.5 | 1.4 | 4.9
72 | 1.2 | 1.2 | 1.4 | 1.4 | 1.1 | 4.5
73 | 1.2 | 1.2 | 1.4 | 1.3 | 1 | 4.6
74 | 1.2 | 1.2 | 1.3 | 1.3 | 0.9 | 4.7
75 | 1 | 1 | 1.2 | 1.2 | 0.9 | 4.6
76 | 0.9 | 0.9 | 1.1 | 1.1 | 1 | 4.6
77 | 0.8 | 0.7 | 1 | 1 | 0.9 | 4.7
78 | 0.6 | 0.5 | 0.8 | 0.8 | 0.8 | 4.7
79 | 0.6 | 0.5 | 0.8 | 0.8 | 0.7 | 4.7
80 | 0.5 | 0.5 | 0.8 | 0.7 | 0.7 | 4.8
81 | 0.5 | 0.4 | 0.7 | 0.7 | 0.6 | 4.7
82 | 0.4 | 0.4 | 0.6 | 0.6 | 0.5 | 3.9
83 | 0.5 | 0.4 | 0.7 | 0.6 | 0.4 | 4.1
84 | 0.5 | 0.4 | 0.7 | 0.6 | 0.4 | 4.2
85 | 0.4 | 0.4 | 0.6 | 0.6 | 0.4 | 4.1
86 | 0.4 | 0.4 | 0.6 | 0.6 | 0.4 | 4.1
87 | 0.4 | 0.4 | 0.6 | 0.5 | 0.5 | 4.2
88 | 0.4 | 0.3 | 0.5 | 0.5 | 0.4 | 4.2
89 | 0.4 | 0.3 | 0.5 | 0.5 | 0.4 | 4.2
90 | 0.4 | 0.3 | 0.5 | 0.5 | 0.4 | 4.2
91 | 0.4 | 0.3 | 0.5 | 0.5 | 0.4 | 4.2
92 | 0.3 | 0.3 | 0.5 | 0.4 | 0.4 | 4.2
93 | 0.3 | 0.3 | 0.4 | 0.4 | 0.3 | 3.9
94 | 0.3 | 0.3 | 0.4 | 0.4 | 0.3 | 4.1
95 | 0.3 | 0.3 | 0.4 | 0.4 | 0.2 | 3.5
96 | 0.3 | 0.2 | 0.3 | 0.3 | 0.2 | 3.3
97 | 0.3 | 0.2 | 0.4 | 0.3 | 0.3 | 3.7
98 | 0.3 | 0.2 | 0.3 | 0.3 | 0.3 | 3.7
99 | 0.2 | 0.2 | 0.3 | 0.3 | 0.2 | 3.7
100 | 0.2 | 0.2 | 0.3 | 0.3 | 0.2 | 3.6
101 | 0.2 | 0.2 | 0.3 | 0.3 | 0.2 | 4
102 | 0.2 | 0.2 | 0.3 | 0.3 | 0.2 | 4.6
103 | 0.1 | 0.1 | 0.3 | 0.2 | 0.2 | 4.6
104 | 0.1 | 0.1 | 0.2 | 0.2 | 0.1 | 4.5
105 | 0.1 | 0.1 | 0.3 | 0.2 | 0.1 | 4.5
106 | 0.1 | 0.1 | 0.2 | 0.2 | 0.1 | 4.4
107 | 0.1 | 0.1 | 0.2 | 0.2 | 0.1 | 4.2
108 | 0.1 | 0.1 | 0.2 | 0.2 | 0.1 | 3.8
109 | 0.1 | 0.1 | 0.2 | 0.2 | 0.1 | 3.8
110 | 0.1 | 0.1 | 0.2 | 0.2 | 0.1 | 3.7
111 | 0.1 | 0.1 | 0.2 | 0.2 | 0.1 | 3.7
112 | 0.1 | 0.1 | 0.2 | 0.2 | 0.1 | 3.7
113 | 0.1 | 0.1 | 0.2 | 0.2 | 0.1 | 3.9
114 | 0.1 | 0.1 | 0.2 | 0.1 | 0.1 | 3.8
115 | 0.1 | 0.1 | 0.2 | 0.1 | 0.1 | 3.8
116 | 0.1 | 0.1 | 0.2 | 0.1 | 0.1 | 3.8
117 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 3.8
118 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 3.4
119 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 3.6
120 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 3.6
121 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 3.4
122 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 3.6
123 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 3.5
124 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 3.5
125 | 0 | 0 | 0.1 | 0.1 | 0.1 | 3.5
126 | 0 | 0 | 0.1 | 0.1 | 0 | 3.5
127 | 0 | 0 | 0.1 | 0.1 | 0 | 3.5
128 | 0 | 0 | 0.1 | 0.1 | 0 | 3.5
129 | 0 | 0 | 0.1 | 0.1 | 0 | 3.5
130 | 0 | 0 | 0.1 | 0.1 | 0 | 3.5
131 | 0 | 0 | 0.1 | 0.1 | 0 | 3.6
132 | 0 | 0 | 0.1 | 0.1 | 0 | 3.5
133 | 0 | 0 | 0.1 | 0.1 | 0 | 3.4
134 | 0 | 0 | 0.1 | 0.1 | 0 | 3.3
135 | 0 | 0 | 0.1 | 0 | 0 | 3.1
136 | 0 | 0 | 0 | 0 | 0 | 3
137 | 0 | 0 | 0.1 | 0 | 0 | 3.2
138 | 0 | 0 | 0 | 0 | 0 | 3.2
139 | 0 | 0 | 0 | 0 | 0 | 3.2
140 | 0 | 0 | 0 | 0 | 0 | 3.2
141 | 0 | 0 | 0 | 0 | 0 | 3.2
142 | 0 | 0 | 0 | 0 | 0 | 3.3
143 | 0 | 0 | 0 | 0 | 0 | 3.1
144 | 0 | 0 | 0 | 0 | 0 | 3.2