## Chart1
Sensitivity Analysis for Sinclair Inlet Station

## Zoom
Sensitivity Analysis for Sinclair Inlet Station

## data
Outfall | #3: OF 11 |  | Sensitivity Analysis for Sinclair Inlet Station
Storm | Nov 98
Length of Overflow | 24 hr
Water Column | Surface
Runid | ftn53
Units | cfu/100 ml
hr | #3 Base | #9 Wind | #10 Turbidity | #11 Sunlight | #12 Freshwater | #13 No Die Off
24 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 | 0
32 | 0 | 0 | 0 | 0 | 0 | 0
33 | 0 | 0 | 0 | 0 | 0 | 0
34 | 0 | 0 | 0 | 0 | 0 | 0
35 | 0 | 0 | 0 | 0 | 0 | 0
36 | 0 | 0 | 0 | 0 | 0 | 0
37 | 0 | 0 | 0 | 0 | 0 | 0
38 | 0 | 0 | 0 | 0 | 0 | 0
39 | 7.8 | 7.4 | 8 | 8 | 8.4 | 9.5
40 | 12.9 | 13.3 | 13 | 13 | 12.8 | 14.8
41 | 10.9 | 10.6 | 11 | 11 | 10 | 12.9
42 | 10.7 | 10.3 | 10.8 | 10.8 | 9 | 13
43 | 6.5 | 7.2 | 6.6 | 6.6 | 5.9 | 9.1
44 | 7 | 7.1 | 7.2 | 7.2 | 6.8 | 10
45 | 4.7 | 5.3 | 4.8 | 4.8 | 4 | 7
46 | 0.1 | 0 | 0.1 | 0.1 | 0.2 | 0.2
47 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.4
48 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.4
49 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2
50 | 0.1 | 0.3 | 0.1 | 0.1 | 0.1 | 0.3
51 | 1 | 2.5 | 1.1 | 1.1 | 0.5 | 2
52 | 1.7 | 4.1 | 1.9 | 1.8 | 1.1 | 3.6
53 | 2 | 3.6 | 2.2 | 2.2 | 1.5 | 4.7
54 | 10.8 | 8.3 | 11.7 | 11.6 | 7.4 | 15.6
55 | 8 | 8.6 | 8.8 | 8.7 | 7.4 | 11.8
56 | 5 | 5.5 | 5.6 | 5.6 | 4.7 | 9.2
57 | 4.3 | 4.4 | 5.1 | 5 | 4.2 | 9.3
58 | 4 | 4 | 4.7 | 4.6 | 3.9 | 9.1
59 | 3.7 | 3.7 | 4.5 | 4.4 | 3.6 | 9.2
60 | 3.4 | 3.8 | 4.3 | 4.2 | 3.2 | 9.4
61 | 3.2 | 4.2 | 4.2 | 4.1 | 2.9 | 9.6
62 | 3.2 | 3.3 | 4.2 | 4.1 | 2.8 | 10
63 | 3.1 | 1.7 | 4.1 | 4 | 2.5 | 10.3
64 | 2.6 | 1.4 | 3.5 | 3.4 | 2.1 | 9.3
65 | 2.3 | 2.8 | 2.8 | 2.7 | 2.1 | 6.6
66 | 1.9 | 2 | 2.1 | 2.1 | 1.8 | 5.5
67 | 2 | 2 | 2.3 | 2.2 | 1.9 | 5.9
68 | 2 | 2.1 | 2.3 | 2.2 | 2 | 6.2
69 | 1.9 | 2 | 2.2 | 2.1 | 1.8 | 6.3
70 | 2 | 2 | 2.5 | 2.4 | 1.7 | 7.8
71 | 1.4 | 1.9 | 1.6 | 1.6 | 1.3 | 5.3
72 | 0.4 | 1.3 | 0.5 | 0.5 | 0.5 | 1.9
73 | 0.3 | 1.1 | 0.4 | 0.4 | 0.4 | 1.6
74 | 0.5 | 1.3 | 0.6 | 0.6 | 0.5 | 2.4
75 | 0.8 | 1.4 | 1 | 1 | 0.8 | 4.2
76 | 1 | 1.1 | 1.3 | 1.3 | 1 | 5.7
77 | 1 | 1 | 1.3 | 1.3 | 0.9 | 6
78 | 1 | 1 | 1.3 | 1.3 | 0.9 | 6.3
79 | 0.7 | 0.7 | 0.9 | 0.8 | 0.6 | 4.3
80 | 0.6 | 0.6 | 0.8 | 0.8 | 0.6 | 4.1
81 | 0.6 | 0.6 | 0.7 | 0.7 | 0.5 | 3.9
82 | 0.6 | 0.6 | 0.8 | 0.7 | 0.5 | 4.3
83 | 0.5 | 0.5 | 0.7 | 0.7 | 0.5 | 4.3
84 | 0.5 | 0.5 | 0.7 | 0.7 | 0.5 | 4.3
85 | 0.5 | 0.4 | 0.6 | 0.6 | 0.4 | 4.2
86 | 0.4 | 0.4 | 0.6 | 0.6 | 0.4 | 4.1
87 | 0.4 | 0.4 | 0.6 | 0.5 | 0.4 | 4.1
88 | 0.4 | 0.4 | 0.5 | 0.5 | 0.3 | 4.2
89 | 0.4 | 0.4 | 0.5 | 0.5 | 0.3 | 4.2
90 | 0.4 | 0.3 | 0.5 | 0.5 | 0.3 | 4.2
91 | 0.4 | 0.4 | 0.5 | 0.5 | 0.4 | 4.3
92 | 0.4 | 0.4 | 0.5 | 0.5 | 0.4 | 4.2
93 | 0.4 | 0.3 | 0.5 | 0.5 | 0.3 | 4.3
94 | 0.3 | 0.3 | 0.5 | 0.4 | 0.3 | 4.4
95 | 0.3 | 0.3 | 0.4 | 0.4 | 0.3 | 4.3
96 | 0.3 | 0.3 | 0.4 | 0.4 | 0.3 | 4.1
97 | 0.3 | 0.3 | 0.4 | 0.4 | 0.3 | 4.1
98 | 0.3 | 0.3 | 0.4 | 0.4 | 0.3 | 4.2
99 | 0.3 | 0.3 | 0.4 | 0.3 | 0.2 | 4.3
100 | 0.2 | 0.2 | 0.3 | 0.3 | 0.2 | 4.3
101 | 0.2 | 0.2 | 0.3 | 0.3 | 0.2 | 4.3
102 | 0.2 | 0.2 | 0.3 | 0.3 | 0.2 | 4.3
103 | 0.2 | 0.2 | 0.3 | 0.2 | 0.2 | 3.9
104 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 3.3
105 | 0.1 | 0.1 | 0.2 | 0.2 | 0.1 | 3.2
106 | 0.1 | 0.1 | 0.2 | 0.2 | 0.1 | 3
107 | 0.1 | 0.1 | 0.2 | 0.2 | 0.1 | 2.8
108 | 0.1 | 0.1 | 0.2 | 0.2 | 0.1 | 2.9
109 | 0.1 | 0.1 | 0.2 | 0.1 | 0.1 | 2.9
110 | 0.1 | 0.1 | 0.2 | 0.2 | 0.1 | 3.5
111 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 2.3
112 | 0.1 | 0 | 0.1 | 0.1 | 0.1 | 1.7
113 | 0.1 | 0 | 0.1 | 0.1 | 0.1 | 1.7
114 | 0.1 | 0 | 0.1 | 0.1 | 0.1 | 1.6
115 | 0 | 0 | 0.1 | 0.1 | 0.1 | 1.6
116 | 0 | 0 | 0.1 | 0.1 | 0.1 | 1.5
117 | 0.1 | 0 | 0.1 | 0.1 | 0.1 | 2.1
118 | 0.1 | 0 | 0.1 | 0.1 | 0.1 | 2.3
119 | 0.1 | 0 | 0.1 | 0.1 | 0.1 | 2.5
120 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 2.8
121 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 2.8
122 | 0.1 | 0 | 0.1 | 0.1 | 0.1 | 2.6
123 | 0 | 0 | 0.1 | 0.1 | 0.1 | 2.4
124 | 0 | 0 | 0.1 | 0.1 | 0 | 2.2
125 | 0 | 0 | 0.1 | 0.1 | 0 | 2.2
126 | 0 | 0 | 0.1 | 0 | 0 | 2.3
127 | 0 | 0 | 0 | 0 | 0 | 2.4
128 | 0 | 0 | 0 | 0 | 0 | 2.4
129 | 0 | 0 | 0.1 | 0.1 | 0 | 2.8
130 | 0 | 0 | 0.1 | 0.1 | 0 | 2.8
131 | 0 | 0 | 0.1 | 0 | 0 | 2.7
132 | 0 | 0 | 0 | 0 | 0 | 2.5
133 | 0 | 0 | 0 | 0 | 0 | 2.6
134 | 0 | 0 | 0 | 0 | 0 | 1.4
135 | 0 | 0 | 0 | 0 | 0 | 1
136 | 0 | 0 | 0 | 0 | 0 | 1.1
137 | 0 | 0 | 0 | 0 | 0 | 1
138 | 0 | 0 | 0 | 0 | 0 | 1
139 | 0 | 0 | 0 | 0 | 0 | 1
140 | 0 | 0 | 0 | 0 | 0 | 1.1
141 | 0 | 0 | 0 | 0 | 0 | 1
142 | 0 | 0 | 0 | 0 | 0 | 1
143 | 0 | 0 | 0 | 0 | 0 | 1.7
144 | 0 | 0 | 0 | 0 | 0 | 2